Supporting Information

The thermodynamics of guest complexation to octa-acid and tetra-endo-methyl octa-acid: reference data for the sixth statistical assessment of modeling of proteins and ligands (SAMPL6)

Matthew R. Sullivan, Wei Yao, and Bruce C. Gibb*

Department of Chemistry

Tulane University

New Orleans

LA 70118, USA

Table of contents

The Hosts and Guests															S3

Summary of Thermodynamic Data													S4

Materials and Instrumentation														S5

ITC Experimental Parameters														S6

ITC Results																		S8

References																		S24

The Hosts and Guests

The hosts (OA and TEMOA) and guests (G0-G7) used in this study are shown below.

Figure S1. Chemical structures of hosts OA and TEMOA and guests G0-G7.

Summary of Thermodynamic Data

Table S1 shows the thermodynamic data for the binding of the conjugate bases of guests G0-G7 with hosts OA and TEMOA.

| Guests | OA (1) |  |  |  | TEMOA (2) |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Ka M-1 | G˚b | H˚ | -TS kcal/mol/K | Ka M-1 | G˚b | H˚ | -TS kcal/mol/K |
|  |  | kcal/mol | kcal/mol |  |  | kcal/mol | kcal/mol |  |
| G0 | 1.47 E04 (2%) | -5.68 | -4.84 (<1%) | -0.84 (4%) | 2.81 E04 (<1%) | -6.06 | -7.85 (2%) | 1.77 (8%) |
| G1 | 2.57 E03 (1%) | -4.65 | -5.52 (1%) | 0.86 (10 %) | 2.4 E04 (4%) | -5.97 | -8.25 (4%) | 2.27 (14%) |
| G2 | 1.40 E06 (1 %) | -8.38 | -12.07 (<1%) | 3.69 (<1%) | 9.82 E04 (<1%) | -6.81 | -9.27 (<1%) | 2.46 (<1%) |
| G3 | 6.21 E03 (<1%) | -5.18 | -7.53 (<1%) | 2.35 (1 %) | 1.28 E04 (4%) | -5.60 | -8.86 (2%) | 3.25 (4%) |
| G4 | 1.64 E05 (1%) | -7.11 | -6.92 (<1%) | -0.19 (13%) | 5.12 E05 (<1%) | -7.79 | -8.87 (<1%) | 1.08 (<1%) |
| G5 | 2.33 E03 (1%) | -4.59 | -5.31 (<1%) | 0.71 (2%) | 1.13 E03 (<1%) | -4.16 | -7.96 (1%) | 3.80 (3%) |
| G6 | 4.37 E03 (<1%) | -4.97 | -5.29 (<1%) | 0.33 (11%) | 9.12 E03 (2%) | -5.40 | -6.19 (<1%) | 0.79 (7%) |
| G7 | 3.60 E04 (<1%) | -6.22 | -7.44 (<1%) | 1.23 (2%) | 1.07 E03 (<1%) | -4.13 | -8.33 (<1%) | 4.20 (<1%) |

Table S1: Thermodynamic data from ITC for the binding of guests G0-G7 to hosts OA and TEMOA.a

- 25 ˚C, 50 mM sodium phosphate buffer, pH = 11.5.

- Calculated error in ∆G is negligible due to the logarithmic relationship with Ka.

Materials and Instrumentation

All guests (purity ≥ 95%) were purchased from Aldrich Chemical Company and were used without purification. Hosts OA and TEMOA were synthesized following previously reported procedures.1,2

Isothermal Titration Calorimetric (ITC) experiments within this study were performed at 298 K using a VP-ITC MicroCalorimeter from Microcal, USA. Integrated heat data obtained for the titrations were fitted using the MicroCal-Origin 7.0 software package. All titrations were carried out in 50 mM sodium phosphate buffer of pH ~ 11.5 at 25 ˚C. Before each experiment, both host and guest solutions were degassed for 2-5 min to eliminate air bubbles.  The injection volumes for all titrations used the computer-controlled injection procedure of guest solution into host solution. The injection volumes used for each titration are detailed in the next section.

The binding for most host-guest pairs gave adequate heats of injection such that general ITC titration procedures could be followed.  However, in the case of OA-G0 and G5, as well as TEMOA-G5 and G7, the Wiseman “c” values (c = [host] × Ka) were less than ideal (i.e., < 5),3 and modification procedures defined by Turnbull4 and Tellinghuisen5 were followed. Thus, variable titrant volumes were used to deliver a large excess of guest with the stoichiometry parameter N fixed to 1.  We have used the same modification procedures previously.6 Moreover, because the heats of complexation were relatively low, higher concentrations of the guest titrant were required which necessitated guest dilution reference titrations (guest injected into buffer solution sans host) to be carried out and subtracted from the host-guest titration.

All the ITC titrations exhibited clear thermal responses and gave an excellent fit for a 1:1 complex model.  All titrations were run in triplicate, and good reproducibility of Ka and ∆H values with the experimental error between runs less than 5%, and -T∆S values less than 15%; as shown in Table S1.

ITC Experimental Parameters

Each host-guest system required specific conditions to fit within the instrumental limitations inherent of ITC. Specifically, the concentrations for host and guest, injection procedure, and DP value (Differential (or reference) Power) used for each host-guest pair is listed below.

Cyclopentyl acetic acid (G0):

OA: DP = 15. The ITC titration experiment used the computer-controlled 28-injection procedure of 10 mM guest solution into 0.5 mM host solution. The following variable injection volumes were used (μL); V1-5 = 3.0; V6-12 = 6.0; V13-28 = 9.0.

TEMOA: DP = 25.  The ITC titration experiment utilized a 31-injection procedure of a 10 mM guest solution titrated into a 1 mM host solution: (L); V1 = 2.0; V2 – V31 = 9.0.

Trans-2-hexenoic acid (G1):

OA: DP = 15. The ITC titration experiment used the computer-controlled 28-injection procedure of 20 mM guest solution into 0.5 mM host solution. The following variable injection volumes were used (μL); V1 = 3.0; V2-8 = 6.0; V9-28 = 9.0.

TEMOA: DP = 25.  The ITC titration experiment utilized a 31-injection procedure of a 10 mM guest solution titrated into a 1 mM host solution: (L); V1 = 2.0; V2 – V31 = 9.0.

(s)-(-)-perillic acid (G2):

OA: DP = 25.  The ITC titration experiment used the computer-controlled 28-injection procedure of 5 mM guest solution into 0.5 mM host solution. The following variable injection volumes were used (μL); V1 = 3.0; V2-28 = 9.0.

TEMOA: DP = 30.  The ITC titration experiment utilized a 28-injection procedure of a 10 mM guest solution titrated into a 1 mM host solution: (L); V1 = 2.0; V2 – V28 = 9.0.

5-hexenoic acid (G3):

OA: DP = 25. The ITC titration experiment used the computer-controlled 28-injection procedure of 20 mM guest solution into 0.5 mM host solution. The following variable injection volumes were used (μL); V1 = 4.0; V2-8 = 6.0; V9-28 = 9.0.

TEMOA: DP = 25.  The ITC titration experiment utilized a 31-injection procedure of a 10 mM guest solution titrated into a 1 mM host solution: (L); V1 = 2.0; V2 – V31 = 9.0.

(s)-(-)-citronellic acid (G4):

OA: DP = 15.  The ITC titration experiment used the computer-controlled 28-injection procedure of 5 mM guest solution into 0.5 mM host solution. The following variable injection volumes were used (μL); V1-28 = 9.0.

TEMOA: DP = 10. The ITC titration experiment utilized a 32-injection procedure of a 3.75 mM guest solution titrated into a 0.25 mM host solution: (L); V1 = 2.0; V2 – V32 = 6.0.

2-methyl-4-pentenoic acid (G5):

OA: DP = 15.  The ITC titration experiment used the computer-controlled 28-injection procedure of 20 mM guest solution into 0.5 mM host solution. The following variable injection volumes were used (μL); V1-28 = 9.0.

TEMOA: DP = 20.  The ITC titration experiment utilized a 32-injection procedure of a 30 mM guest solution titrated into a 0.5 mM host solution: (L); V1 = 2.0; V2 – V32 = 8.0.

4-methylvaleric acid (G6):

OA: DP = 15. The ITC titration experiment used the computer-controlled 28-injection procedure of 20 mM guest solution into 0.5 mM host solution. The following variable injection volumes were used (μL); V1 = 3.0; V2-8 = 6.0; V9-28 = 9.0.

TEMOA: DP = 20.  The ITC titration experiment utilized a 32-injection procedure of a 12 mM guest solution titrated into a 1 mM host solution: (L); V1 = 2.0; V2 – V32 = 9.0.

2,2-dimethyl-4-pentenoic acid (G7):

OA: DP = 20. The ITC titration experiment used the computer-controlled 28-injection procedure of 10 mM guest solution into 0.5 mM host solution. The following variable injection volumes were used (μL); V1-5 = 3.0; V6-12 = 6.0; V13-28 = 9.0.

TEMOA: DP = 20.  The ITC titration experiment utilized a 34-injection procedure of a 30 mM guest solution titrated into a 0.5 mM host solution: (L); V1 = 2.0; V2 – V34 = 6.0.

ITC Results

The figures below show an example thermogram and binding curve of one titration experiment for each host guest pair.

Cyclopentyl acetic acid (G0)

Figure S2: ITC thermogram and 1:1 binding fit for OA-G0 complexation.  A 10 mM solution of G0 was titrated into 0.5 mM solution of OA equilibrated at 25 ˚C.  Both host and guest were in 50 mM phosphate buffer, pH 11.5.

Figure S3: ITC thermogram and 1:1 binding fit for TEMOA-G0 complexation.  A 10 mM solution of G0 was titrated into 1 mM solution of TEMOA equilibrated at 25 ˚C.  Both host and guest were in 50 mM phosphate buffer, pH 11.5.

Trans-2-hexenoic acid (G1)

Figure S4: ITC thermogram and 1:1 binding fit for OA-G1 complexation.  A 20 mM solution of G1 was titrated into 0.5 mM solution of OA equilibrated at 25 ˚C.  Both host and guest were in 50 mM phosphate buffer, pH 11.5.

Figure S5: ITC thermogram and 1:1 binding fit for TEMOA-G1 complexation.  A 10 mM solution of G1 was titrated into 1 mM solution of TEMOA equilibrated at 25 ˚C.  Both host and guest were in 50 mM phosphate buffer, pH 11.5.

(s)-(-)-perillic acid (G2)

Figure S6: ITC thermogram and 1:1 binding fit for OA-G2 complexation.  A 5 mM solution of G2 was titrated into 0.5 mM solution of OA equilibrated at 25 ˚C.  Both host and guest were in 50 mM phosphate buffer, pH 11.5.

Figure S7: ITC thermogram and 1:1 binding fit for TEMOA-G2 complexation.  A 10 mM solution of G2 was titrated into 1 mM solution of TEMOA equilibrated at 25 ˚C.  Both host and guest were in 50 mM phosphate buffer, pH 11.5.

5-hexenoic acid (G3)

Figure S8: ITC thermogram and 1:1 binding fit for OA-G3 complexation.  A 20 mM solution of G3 was titrated into 0.5 mM solution of OA equilibrated at 25 ˚C.  Both host and guest were in 50 mM phosphate buffer, pH 11.5.

Figure S9: ITC thermogram and 1:1 binding fit for TEMOA-G3 complexation.  A 10 mM solution of G3 was titrated into 1 mM solution of TEMOA equilibrated at 25 ˚C.  Both host and guest were in 50 mM phosphate buffer, pH 11.5.

(s)-(-)-citronellic acid (G4)

Figure S10: ITC thermogram and 1:1 binding fit for OA-G4 complexation.  A 5 mM solution of G4 was titrated into 0.5 mM solution of OA equilibrated at 25 ˚C.  Both host and guest were in 50 mM phosphate buffer, pH 11.5.

Figure S11: ITC thermogram and 1:1 binding fit for TEMOA-G4 complexation.  A 3.75 mM solution of G4 was titrated into 0.25 mM solution of TEMOA equilibrated at 25 ˚C. Both host and guest were in 50 mM phosphate buffer, pH 11.5.

2-methyl-4-pentenoic acid (G5)

Figure S12: (a): ITC data for the complex formed between OA and G5. A 20 mM solution of G5 was titrated into 0.5 mM solution of OA equilibrated at 25 ˚C.  Both host and guest were in 50 mM phosphate buffer, pH 11.5.  (b): ITC titration of G5 into buffer alone.  (c): An overlay of (a) and (b) ITC data.  (d): The resultant final binding curve after subtracting (b) from (a).

Figure S13: (a): ITC data for the complex formed between TEMOA and G5. A 30 mM solution of G5 was titrated into 0.5 mM solution of TEMOA equilibrated at 25 ˚C.  Both host and guest were in 50 mM phosphate buffer, pH 11.5.  (b): ITC titration of G5 into buffer alone.  (c): An overlay of (a) and (b) ITC data.  (d): The resultant final binding curve after subtracting (b) from (a).

4-methylvaleric acid (G6)

Figure S14: ITC thermogram and 1:1 binding fit for OA-G6 complexation.  A 20 mM solution of G6 was titrated into 0.5 mM solution of OA equilibrated at 25 ˚C.  Both host and guest were in 50 mM phosphate buffer, pH 11.5.

Figure S15: ITC thermogram and 1:1 binding fit for TEMOA-G6 complexation.  A 10 mM solution of G6 was titrated into 1 mM solution of TEMOA equilibrated at 25 ˚C.  Both host and guest were in 50 mM phosphate buffer, pH 11.5.

2,2-dimethyl-4-pentenoic acid (G7):

Figure S16: ITC thermogram and 1:1 binding fit for OA-G7 complexation.  A 10 mM solution of G7 was titrated into 0.5 mM solution of OA equilibrated at 25 ˚C.  Both host and guest were in 50 mM phosphate buffer, pH 11.5.

Figure S17: (a): ITC data for the complex formed between TEMOA and G7. A 30 mM solution of G7 was titrated into 0.5 mM solution of TEMOA equilibrated at 25 ˚C.  Both host and guest were in 50 mM phosphate buffer, pH 11.5.  (b): ITC titration of G7 into buffer alone.  (c): An overlay of (a) and (b) ITC data.  (d): The resultant final binding curve after subtracting (b) from (a).

References

1.	(a) Liu, S.; Whisenhunt-Ioup, S. E.; Gibb, C. L. D.; Gibb, B. C., An improved synthesis of 'octa-acid' deep-cavity cavitand. Supramol. Chem. 2011, 23 (6), 480-485; (b) Gibb, C. L. D.; Gibb, B. C., Well-Defined, Organic Nanoenvironments in Water: The Hydrophobic Effect Drives a Capsular Assembly. J. Am. Chem. Soc. 2004, 126 (37), 11408-11409.

2.	Gan, H.; Benjamin, C. J.; Gibb, B. C., Nonmonotonic Assembly of a Deep-Cavity Cavitand. J. Am. Chem. Soc. 2011, 133 (13), 4770-4773.

3.	Sun, H.; Gibb, C. L. D.; Gibb, B. C., Calorimetric analysis of the 1:1 complexes formed between a water-soluble deep-cavity cavitand, and cyclic and acyclic carboxylic acids. Supramol. Chem. 2008, 20 (1&2), 141-147.

4.	Turnbull, W. B.; Daranas, A. H., On the Value of c: Can Low Affinity Systems Be Studied by Isothermal Titration Calorimetry? J. Am. Chem. Soc. 2003, 125 (48), 14859-14866.

5.	Tellinghuisen, J., Isothermal titration calorimetry at very low c. Anal. Biochem. 2008, 373 (2), 395-397.

6.	(a) Sokkalingam, P.; Shraberg, J.; Rick, S. W.; Gibb, B. C., Binding Hydrated Anions with Hydrophobic Pockets. J. Am. Chem. Soc. 2016, 138 (1), 48-51; (b) Wang, K.; Sokkalingam, P.; Gibb, B. C., ITC and NMR analysis of the encapsulation of fatty acids within a water-soluble cavitand and its dimeric capsule. Supramol. Chem. 2015, Ahead of Print; (c) Sullivan, M. R.; Sokkalingam, P.; Nguyen, T.; Donahue, J. P.; Gibb, B. C., Binding of carboxylate and trimethylammonium salts to octa-acid and TEMOA deep-cavity cavitands. J. Comput.-Aided Mol. Des. 2016, Ahead of Print.