GC/MS and DFT studies of S,S-dialkyl methylphosphonothioloselenoates related to Schedule 2.B.04 of Chemical Weapons Convention

Hamid Saeidiana, Ali Soleimani Karimabada, Mahmood Payeghadra, Mehran Babrib

a Department of Science, Payame Noor University (PNU), P.O Box: 19395-4697, Tehran, Iran

b Defense Chemical Research Lab (DCRL), P.O. Box: 31585-1461, Karaj, Iran

Email: saeidian1980@gmail.com

Experimental

Reagents and Chemicals

All chemicals required for the microsynthesis of 2, 3 and 4 were purchased from Sigma–Aldrich (St. Louis, MO, USA), Fluka (Neu-Ulm, Germany), and Merck (Darmstadt, Germany), and were used as received. Methylphosphonoselenoyl dichloride 1 was synthesized by a reported method described [1].

GC/EI-MS analyses

The GC/EI-MS analyses were performed using an Agilent 6890N gas chromatograph equipped with a 5973 Mass selective detector, by a HP-5MS capillary column of (30 m, 320 μm i.d. and 0.25 μm film thickness), and helium as carrier gas at a constant flow of 1.8 mL min-1. The oven temperature was set at 40 °C for 3 min and then was increased to 280 °C with rate of 10 °C min-1 and held at 280 °C for 6 min. The 0.50 μ L samples in CH2Cl2 were injected in splitless mode at an injection temperature of 250 °C. The temperatures of the EI source and analyzer were kept at 230 and 150 °C, respectively. The scan range was m/z 35-500 (Supplementary data). Automated Mass Spectral Deconvolution and Identification software (AMDIS) was used to calculate retention indices of the synthesized compounds. An alkane mixture [octane (C8) to tetracosane (C24)] was used for retention indices calculations.

Computation details

Geometry optimizations and frequency calculations for all species were performed using Gaussian 03 program [2]. DFT calculations with the Becke three-parameter hybrid functional (DFT-B3LYP) were performed, using 6–311++g(d, p) basis set. Vibrational frequencies were calculated at the same level to ensure that each stationary point is a true minimum. The harmonic-oscillator approximation was also employed to prepare the thermodynamic partition functions. After geometry optimization and frequency calculations, zero-point energies (ZPEs) and thermal corrections were obtained at 298 K.

Microsynthesis of S-alkyl methylphosphonochloridoselenoates 2

The corresponding S-alkyl methylphosphonochloridoselenoates 2 were synthesized by the controlled addition of RSH to methylphosphonoselenoyl dichloride 1. The appropriate thiol (0.50 mmol) and triethylamine (0.6 mmol) in dichloromethane (500 µL) was added slowly into methylphosphonoselenoyl dichloride (0.45 mmol) in dichloromethane (300 µL), while stirring at 0-5 °C. After 30 min the resulting precipitate was filtered off and the solution was analyzed using GC-MS as required.

Microsynthesis of S,S-dialkyl methylphosphothioloselenoates 3 and S-alkyl S-alkyl' methylphosphothioloselenoates 4

The addition of RSH (or R'SH) to the solution of S-alkyl methylphosphonochloridoselenoates 2 afforded the desired products of 3 or 4 (Scheme 1). A mixture of RSH or R'SH (0.50 mmol) and triethylamine (0.6 mmol) in dichloromethane (500 µL) was slowly added into the solution of 2 and the solution was allowed to stir at room temperature for 1 hour. Any precipitate was filtered and the resulting solutions of 3 or 4 were analyzed using GC-MS as required.

References

- Srinivasulu K, Kumar MA, Raju CN, et al. Synthesis and bioactivity of some new 2-substituted-3,4-dihydro-1-(9H-carbazol-4-yloxy)methyl-3-[2-(2-methoxyphenoxy)ethyl]-1,3,2λ5-oxazaphosphole 2-oxides, sulfides and selenides. Arkivoc 2007;xiv:100-109.

- Frisch MJ, Trucks GW, Schlegel HB, et al. Gaussian, Inc., Wallingford CT, Gaussian 03, Revision E.01, Gaussian, Inc., Pittsburgh PA, 2003.

EI-MS spectra of compounds 2, 3 and 4

Optimized geometries of  3, 4 and MS fragments

%chk=E:\seeidian\s\calculations\EtBu.chk

# opt b3lyp/6-311++g(d,p)

opt

0 1

P                 -0.03419762   -0.98283989    0.31723608

S                  1.95910237   -0.46355872    0.29073708

S                 -0.22018772   -3.00926967   -0.00306071

C                  2.81985554   -1.34841752    1.57312894

H                  2.39852623   -1.09748770    2.52413674

C                  4.30999243   -0.96021704    1.55331901

H                  4.82741147   -1.49212654    2.32419501

H                  4.40659894    0.09234600    1.71968676

C                 -1.94255373   -3.45796893    0.01983649

H                 -2.03916024   -4.51053197   -0.14653126

C                 -2.54895292   -3.09681760    1.38857669

H                 -2.45234642   -2.04425456    1.55494444

H                 -2.03153388   -3.62872711    2.15945269

Se                -0.97889840   -0.01168250   -1.09022500

C                 -0.75085121   -0.55602468    1.93483814

H                 -1.78620606   -0.82574840    1.94860219

H                 -0.23343217   -1.08793419    2.70571415

H                 -0.65424471    0.49653836    2.10120589

H                  4.73132174   -1.21114686    0.60231121

H                 -2.45997277   -2.92605943   -0.75103952

C                 -4.03908981   -3.48501809    1.40838662

H                 -4.13569631   -4.53758113    1.24201887

H                 -4.55650885   -2.95310858    0.63751062

H                  2.72324904   -2.40098056    1.40676119

C                 -4.64548900   -3.12386676    2.77712682

H                 -5.68084385   -3.39359047    2.79089087

H                 -4.12806996   -3.65577626    3.54800283

H                 -4.54888250   -2.07130372    2.94349458

%chk=E:\seeidian\s\calculations\EtiBu.chk

# opt b3lyp/6-311++g(d,p)

opt

0 1

P                 -0.25443496   -0.79253991    0.73548186

S                  1.59545312   -0.12809996    0.11901318

S                 -0.68648924   -2.57997150   -0.19296707

C                  2.83237956   -1.33393593    0.54839951

H                  2.83947756   -1.47549090    1.60897097

C                  4.21530560   -0.83721869    0.08754429

H                  4.95885127   -1.56207514    0.34565854

H                  4.43972215    0.09120451    0.56979689

C                 -2.28493623   -3.15409922    0.33970975

C                 -2.27472040   -3.35783254    1.86613969

H                 -2.05030386   -2.42940933    2.34839229

Se                -1.61199647    0.53089894    0.26421830

C                 -0.24236172   -1.03331565    2.53944452

H                 -1.20322592   -1.37843737    2.85964912

H                  0.50118395   -1.75817210    2.79755877

H                 -0.01794517   -0.10489244    3.02169712

H                  4.20820760   -0.69566372   -0.97302716

H                 -3.02848189   -2.42924277    0.08159549

C                 -3.65764645   -3.85454978    2.32699491

H                 -3.88206299   -4.78297298    1.84474231

H                 -4.40119211   -3.12969333    2.06888066

H                  2.60796301   -2.26235914    0.06614691

H                 -3.65054844   -3.99610475    3.38756637

H                 -2.50935277   -4.08252243   -0.14254285

C                 -1.20457057   -4.40108388    2.23763123

H                 -1.42898711   -5.32950708    1.75537863

H                 -0.24370637   -4.05596216    1.91742663

H                 -1.19747256   -4.54263885    3.29820269

%chk=EtsecBu

# opt b3lyp/6-311++g(d,p)

opt

0 1

P                 -0.24873868   -0.75088009    0.77384373

S                  1.66185826   -0.09078762    0.16886666

S                 -0.72717633   -2.54035635   -0.23658792

C                  2.87172751   -1.33582070    0.56194303

H                  2.87274759   -1.51151877    1.61741882

C                  4.26619163   -0.85404705    0.12039578

H                  4.99347258   -1.60246581    0.35668326

H                  4.50881167    0.05341248    0.63279477

C                 -2.33895953   -3.09721161    0.27377188

C                 -2.33749138   -3.35008547    1.79286788

H                 -2.09487133   -2.44262595    2.30526687

H                 -1.61021042   -4.09850423    2.02915536

Se                -1.79166182    0.83688682    0.27256095

C                 -0.24695592   -1.05794121    2.61846030

H                 -1.21583683   -1.39268004    2.92524963

H                  0.48032503   -1.80635997    2.85474778

H                 -0.00433588   -0.15048168    3.13085930

H                  4.26517155   -0.67834897   -0.93508001

H                 -3.06624048   -2.34879284    0.03748440

C                 -3.73195549   -3.83185912    2.23441513

H                 -3.91674939   -4.86629889    2.43612180

H                 -4.56091022   -3.16029371    2.15235438

H                  2.62910747   -2.24328022    0.04954404

H                 -3.87067493   -4.14853610    1.22180829

C                 -2.68815099   -4.40327485   -0.46369956

H                 -1.96087004   -5.15169361   -0.22741209

H                 -3.65703190   -4.73801368   -0.15691024

H                 -2.68917107   -4.22757677   -1.51917535

%chk=Etetoptvol.chk

# opt b3lyp/6-311++g(d,p) volume

vol

0 1

P                  0.03587900   -0.42066900    0.54435200

S                 -1.56582500   -0.47587300   -0.74990300

S                  0.30482300    1.50590500    1.22227800

C                 -3.03381200    0.06463500    0.09937100

H                 -3.22399500   -0.58247500    0.93002100

C                 -4.23120300    0.02336500   -0.86817900

H                 -5.11364400    0.34827700   -0.35766100

H                 -4.37089700   -0.97733100   -1.22030600

C                  0.62120200    2.58240500   -0.15955100

H                  0.76089600    3.58310100    0.19257500

C                  1.89125800    2.11477400   -0.89431600

H                  1.75156400    1.11407800   -1.24644200

H                  2.72321100    2.14344800   -0.22205700

Se                 1.86674000   -1.09478600   -0.51485400

C                 -0.28760900   -1.52136000    1.95723400

H                  0.54434400   -1.49268600    2.62949300

H                 -1.17005100   -1.19644800    2.46775200

H                 -0.42730300   -2.52205600    1.60510700

H                 -4.04102000    0.67047500   -1.69882900

H                 -0.21075100    2.55373100   -0.83181000

H                 -2.89411800    1.06533100    0.45149700

H                  2.08144100    2.76188400   -1.72496600

%chk=Etpen-pen vol.chk

# opt b3lyp/6-311++g(d,p) volume

vol

0 1

P                  0.47899303    0.12724978    1.30642427

S                  1.47671140   -0.08286769   -0.48355022

S                 -0.40201969   -1.66381114    1.81585274

C                  2.73060684   -1.33567798   -0.32041651

H                  3.42373402   -1.04932477    0.44278500

C                  3.47647397   -1.49275609   -1.65855278

H                  4.23022011   -2.24584992   -1.56048926

H                  3.93408737   -0.56244775   -1.92315883

C                 -1.55507239   -2.14017442    0.54622779

H                 -2.01268579   -3.07048276    0.81083384

C                 -2.63990328   -1.05628238    0.40508964

H                 -2.18228987   -0.12597403    0.14048359

H                 -3.15813563   -0.94714369    1.33483367

Se                -1.08485410    1.68974351    1.10296537

C                  1.65795702    0.61431786    2.60458012

H                  1.13972467    0.72345655    3.53432415

H                  2.41170316   -0.13877596    2.70264364

H                  2.11557043    1.54462620    2.33997407

H                  2.78334679   -1.77910930   -2.42175430

H                 -1.03684003   -2.24931311   -0.38351624

C                 -3.63748819   -1.46841690   -0.69334992

H                 -4.09510160   -2.39872524   -0.42874387

H                 -3.11925584   -1.57755559   -1.62309396

H                  2.27299344   -2.26598632   -0.05581046

C                 -4.72231908   -0.38452486   -0.83448808

H                 -5.24055144   -0.27538617    0.09525596

H                 -4.26470568    0.54578349   -1.09909412

C                 -5.71990400   -0.79665938   -1.93292764

H                 -6.17751740   -1.72696773   -1.66832159

H                 -6.47365014   -0.04356556   -2.03099116

H                 -5.20167164   -0.90579807   -2.86267167

%chk=penpen.chk

# opt freq b3lyp/6-311++g(d,p)

penpen

0 1

P                 -1.26951200   -0.58207000    0.42734900

S                 -2.57291300    0.29442200   -1.02839600

S                 -0.17853400    0.98774700    1.40630600

C                 -3.44086600    1.64829300   -0.10540800

H                 -4.15076700    1.19997800    0.59155400

C                 -4.16196600    2.55243200   -1.10331700

H                 -4.68924000    3.34472500   -0.56415100

C                  1.20017500    1.28770700    0.20488400

H                  1.26261600    2.37334500    0.10649200

C                  2.52503800    0.68726400    0.66891800

H                  2.40699100   -0.39574700    0.76574700

H                  2.77154000    1.07204000    1.66502600

Se                -0.15265300   -2.12614000   -0.49392000

C                 -2.33734700   -1.10785700    1.82063500

H                 -1.70664300   -1.57328100    2.57864000

H                 -2.87024500   -0.25876500    2.25299500

H                 -3.04899400   -1.84029100    1.43882700

H                 -3.45775000    3.02113400   -1.79400900

H                  0.89665600    0.87679300   -0.76020800

H                 -2.69101900    2.20567300    0.45830200

C                  3.66840600    1.00360800   -0.30402800

H                  3.77072100    2.09164400   -0.41105200

H                  3.41408400    0.61946400   -1.29972600

C                  5.01298100    0.41241500    0.13624200

H                  4.90895200   -0.67346700    0.24439900

H                  5.26669500    0.79542600    1.13211800

C                  6.15428900    0.72248400   -0.83642900

H                  6.30460400    1.80184100   -0.94021800

H                  7.09773500    0.28760900   -0.49512700

H                  5.94480100    0.32062900   -1.83266900

C                 -5.20074477    1.77136161   -1.92943304

H                 -4.72977438    1.36021136   -2.79778917

H                 -5.60669712    0.97953198   -1.33520369

C                 -6.33310047    2.72168311   -2.36101108

H                 -6.85202274    3.07486727   -1.49447740

H                 -5.91821455    3.55297304   -2.89179042

C                 -7.31572112    1.96724714   -3.27582420

H                 -8.10884341    2.62420250   -3.56611146

H                 -6.79939724    1.62429023   -4.14799977

H                 -7.72165235    1.12906285   -2.74897799

%chk=PrBu.chk

# opt freq b3lyp/6-311++g(d,p)

prBu

0 1

P                 -1.26951200   -0.58207000    0.42734900

S                 -2.57291300    0.29442200   -1.02839600

S                 -0.17853400    0.98774700    1.40630600

C                 -3.44086600    1.64829300   -0.10540800

H                 -4.15076700    1.19997800    0.59155400

C                 -4.16196600    2.55243200   -1.10331700

H                 -4.68924000    3.34472500   -0.56415100

C                  1.20017500    1.28770700    0.20488400

H                  1.26261600    2.37334500    0.10649200

C                  2.52503800    0.68726400    0.66891800

H                  2.40699100   -0.39574700    0.76574700

H                  2.77154000    1.07204000    1.66502600

Se                -0.15265300   -2.12614000   -0.49392000

C                 -2.33734700   -1.10785700    1.82063500

H                 -1.70664300   -1.57328100    2.57864000

H                 -2.87024500   -0.25876500    2.25299500

H                 -3.04899400   -1.84029100    1.43882700

H                 -3.45775000    3.02113400   -1.79400900

H                  0.89665600    0.87679300   -0.76020800

H                 -2.69101900    2.20567300    0.45830200

C                  3.66840600    1.00360800   -0.30402800

H                  3.77072100    2.09164400   -0.41105200

H                  3.41408400    0.61946400   -1.29972600

C                  5.01298100    0.41241500    0.13624200

H                  4.92869496   -0.65193434    0.20664335

H                  5.28309995    0.81274076    1.09105876

C                 -5.20074477    1.77136161   -1.92943304

H                 -4.72977470    1.36021132   -2.79778932

H                 -5.60669701    0.97953205   -1.33520353

H                  5.76540413    0.66389900   -0.58175190

H                 -5.98751148    2.43164970   -2.22929599

%chk=BuBu.chk

# opt freq b3lyp/6-311++g(d,p)

BuBu

0 1

P                 -1.26951200   -0.58207000    0.42734900

S                 -2.57291300    0.29442200   -1.02839600

S                 -0.17853400    0.98774700    1.40630600

C                 -3.44086600    1.64829300   -0.10540800

H                 -4.15076700    1.19997800    0.59155400

C                 -4.16196600    2.55243200   -1.10331700

H                 -4.68924000    3.34472500   -0.56415100

C                  1.20017500    1.28770700    0.20488400

H                  1.26261600    2.37334500    0.10649200

C                  2.52503800    0.68726400    0.66891800

H                  2.40699100   -0.39574700    0.76574700

H                  2.77154000    1.07204000    1.66502600

Se                -0.15265300   -2.12614000   -0.49392000

C                 -2.33734700   -1.10785700    1.82063500

H                 -1.70664300   -1.57328100    2.57864000

H                 -2.87024500   -0.25876500    2.25299500

H                 -3.04899400   -1.84029100    1.43882700

H                 -3.45775000    3.02113400   -1.79400900

H                  0.89665600    0.87679300   -0.76020800

H                 -2.69101900    2.20567300    0.45830200

C                  3.66840600    1.00360800   -0.30402800

H                  3.77072100    2.09164400   -0.41105200

H                  3.41408400    0.61946400   -1.29972600

C                  5.01298100    0.41241500    0.13624200

H                  4.92869496   -0.65193434    0.20664335

H                  5.28309995    0.81274076    1.09105876

C                 -5.20074477    1.77136161   -1.92943304

H                 -4.72977438    1.36021136   -2.79778917

H                 -5.60669712    0.97953198   -1.33520369

C                 -6.33310047    2.72168311   -2.36101108

H                 -6.85202301    3.07486736   -1.49447760

H                 -5.91821436    3.55297296   -2.89179041

H                 -7.01583067    2.19749732   -2.99662790

H                  5.76540413    0.66389900   -0.58175190

%chk=EtPr.chk

# opt freq b3lyp/6-311++g(d,p)

etPr

0 1

P                  0.13596555   -0.03618902    0.94393152

S                 -1.23815056   -0.34230051   -0.55996365

S                  0.41548575    1.98635032    1.21743302

C                 -2.78556551    0.41544480   -0.11305311

H                 -3.14720090   -0.02059924    0.79468332

C                 -3.81281736    0.18660417   -1.23732426

H                 -4.74300499    0.64210275   -0.96867579

H                 -3.95800503   -0.86393811   -1.37938572

C                  1.01708481    2.71173199   -0.29263320

H                  1.16227249    3.76227427   -0.15057174

C                  2.35585954    2.05615459   -0.67928614

H                  2.21067187    1.00561231   -0.82134760

H                  3.06959946    2.21515424    0.10186329

Se                 2.06588756   -0.98124216    0.38654871

C                 -0.47915260   -0.77787140    2.48793181

H                  0.23458732   -0.61887174    3.26908124

H                 -1.40934023   -0.32237282    2.75658028

H                 -0.62434027   -1.82841368    2.34587035

H                 -3.45118197    0.62264820   -2.14506070

H                  0.30334489    2.55273233   -1.07378263

H                 -2.64037783    1.46598708    0.02900835

C                  2.87634413    2.68373198   -1.98574793

H                  3.02153180    3.73427426   -1.84368647

H                  3.80653176    2.22823340   -2.25439640

H                  2.16260420    2.52473233   -2.76689736

%chk=PrPen.chk

# opt freq b3lyp/6-311++g(d,p)

prpen

0 1

P                  0.45002600    0.77342300    0.53344300

S                  2.07201100    0.09852500   -0.68940100

S                 -0.48788700   -0.93103400    1.44435300

C                  3.01283200   -1.06065100    0.41588800

H                  3.59262400   -0.47033500    1.12928700

C                  3.93580000   -1.96077600   -0.41141600

H                  4.36988800   -2.69223100    0.28046400

C                 -1.60240500   -1.51243000    0.08309100

H                 -1.46482900   -2.59493000    0.04362900

C                 -3.06376800   -1.13894400    0.31918500

H                 -3.14685500   -0.04938900    0.36796300

H                 -3.38861400   -1.52776900    1.29109200

Se                -0.77333900    2.07050600   -0.60751000

C                  1.21113900    1.51802200    2.02481800

H                  0.41311600    1.88473300    2.67110800

H                  1.81937900    0.78895400    2.56367200

H                  1.83113300    2.35431300    1.70094900

H                  3.33487600   -2.53056900   -1.12723300

H                 -1.23301100   -1.08996200   -0.85365300

H                  2.28060500   -1.66102600    0.95871300

C                 -3.97993200   -1.68271200   -0.78534400

H                 -3.87806900   -2.77356500   -0.84152200

H                 -3.64753300   -1.29217700   -1.75407800

C                 -5.45122600   -1.31823900   -0.56559500

H                 -5.58849500   -0.23316500   -0.54050200

H                 -5.82200700   -1.72170600    0.38185400

C                  5.06154700   -1.22052000   -1.13940000

H                  4.67059300   -0.51520300   -1.87723700

H                  5.68182600   -0.65648400   -0.43589000

H                  5.71036800   -1.92495200   -1.66588300

C                 -6.33934325   -1.87767998   -1.69248166

H                 -6.21785977   -2.93927820   -1.74861526

H                 -7.36370385   -1.64625210   -1.48747799

H                 -6.05353433   -1.43621194   -2.62431814

%chk=13.chk

# opt freq=noraman b3lyp/6-311++g(d,p)

13

0 1

P                 -1.42077537   -1.13494925   -0.29945138

C                 -0.01749934   -1.38208604   -1.43176750

H                  0.44904704   -0.44029168   -1.63241114

H                  0.69276209   -2.04302915   -0.98056587

H                 -0.36930420   -1.80823200   -2.34802781

C                  0.59690124   -1.44914142    2.41964119

H                  0.13035487   -2.39093577    2.62028483

H                  1.42190418   -1.59443612    1.75393885

C                  1.10323721   -0.83580986    3.73837099

H                  1.81349864   -1.49675297    4.18957261

H                  0.27823427   -0.69051515    4.40407332

C                  1.77471517    0.51966987    3.44959416

H                  1.06445374    1.18061298    2.99839254

H                  2.12652003    0.94581583    4.36585447

H                  2.59971811    0.37437517    2.78389183

S                 -2.78819457    0.13752066   -1.16811992

C                 -2.01207070    1.70424399   -1.50190093

H                 -1.18706776    1.55894928   -2.16760326

H                 -2.72233213    2.36518710   -1.95310255

C                 -1.50573473    2.31757555   -0.18317113

H                 -2.33073767    2.46287025    0.48253120

H                 -0.79547330    1.65663244    0.26803049

C                 -0.83425677    3.67305528   -0.47194796

H                 -0.48245191    4.09920123    0.44431235

H                 -0.00925383    3.52776057   -1.13765029

H                 -1.54451821    4.33399839   -0.92314958

S                 -2.21120085   -2.73054253    0.04048020

Se                -0.69086248   -0.25079596    1.60157469

%chk=8.chk

# opt freq=noraman b3lyp/6-311++g(d,p)

8

1 2

P                 -1.26040964   -0.85442163    0.04637337

C                  0.19912336   -0.57430600   -1.00419727

H                  0.53255765    0.43592379   -0.88949181

H                  0.98174927   -1.24342665   -0.71320887

H                 -0.05885975   -0.75073179   -2.02753429

S                 -0.76373188   -0.51476078    2.01653623

C                  0.53820656   -1.62787736    2.50061038

H                  0.20477226   -2.63810715    2.38590493

H                  1.39628365   -1.46319400    1.88296721

C                  0.90950935   -1.37395614    3.97345058

H                  1.69213527   -2.04307678    4.26443898

H                  0.05143226   -1.53863951    4.59109375

C                  1.38940544    0.08001945    4.13854067

H                  0.60677953    0.74914009    3.84755227

H                  1.64738855    0.25644523    5.16187769

H                  2.24748254    0.24470281    3.52089749

Se                -1.95220790   -2.95041242   -0.19161364

H                 -0.87701155   -3.86967162    0.20815546

%chk=9.chk

# opt freq=noraman b3lyp/6-311++g(d,p)

9

1 2

P                 -1.27162746   -0.86356237    0.07879507

C                  0.18554027   -0.61320365   -0.98251672

H                  0.52990441    0.39501778   -0.88350716

H                  0.96266104   -1.28627899   -0.68594817

H                 -0.07925811   -0.80116082   -2.00205284

S                 -0.76182871   -0.50170091    2.04164033

C                  0.53095163   -1.62139633    2.53499735

H                  0.18658749   -2.62961776    2.43598779

H                  1.38763816   -1.47420741    1.91103932

C                  0.91206333   -1.35087854    4.00236710

H                  1.68918409   -2.02395388    4.29893565

H                  0.05537680   -1.49806746    4.62632513

C                  1.40769022    0.10020650    4.14486684

H                  0.63056946    0.77328184    3.84829830

H                  1.67248860    0.28816367    5.16440297

H                  2.26437675    0.24739542    3.52090881

Se                -1.98610260   -2.95538626   -0.12662663

H                 -2.25210693   -0.01435516   -0.29538020

%chk=12.chk

# opt freq=noraman b3lyp/6-311++g(d,p)

12

1 1

P                 -0.90750162   -1.28327321    0.06765895

C                  0.07072508   -0.55614471   -1.28391667

H                  0.35996659    0.43943891   -1.01924213

H                  0.94552708   -1.14941300   -1.45021218

H                 -0.51820713   -0.53097239   -2.17690335

S                 -0.56448987   -0.70398102    2.01454454

C                  0.67067540   -1.76111140    2.73928042

H                  0.32662722   -2.77417388    2.72394229

H                  1.57904428   -1.68440942    2.17902799

C                  0.92710166   -1.32804831    4.19471917

H                  1.66958865   -1.96351432    4.63037500

H                  0.01873278   -1.40475029    4.75497160

C                  1.42227380    0.13000424    4.21679461

H                  0.67978681    0.76547025    3.78113877

H                  1.60044010    0.43089872    5.22804100

H                  2.33064268    0.20670622    3.65654217

S                 -2.18370874   -2.51730229   -0.29937164

%chk=11.chk

# opt freq=noraman b3lyp/6-311++g(d,p)

11

1 1

P                 -0.90750162   -1.28327321    0.06765895

C                  0.07072508   -0.55614471   -1.28391667

H                  0.35996659    0.43943891   -1.01924213

H                  0.94552708   -1.14941300   -1.45021218

H                 -0.51820712   -0.53097239   -2.17690335

S                 -0.56448987   -0.70398102    2.01454454

C                  0.67067540   -1.76111140    2.73928042

H                  0.32662722   -2.77417388    2.72394229

H                  1.57904428   -1.68440942    2.17902799

C                  0.92710166   -1.32804831    4.19471917

H                  1.66958865   -1.96351432    4.63037500

H                  0.01873278   -1.40475029    4.75497160

C                  1.42227381    0.13000424    4.21679461

H                  0.67978681    0.76547025    3.78113877

H                  1.60044010    0.43089873    5.22804100

H                  2.33064268    0.20670622    3.65654217

Se                -2.28283162   -2.61314921   -0.32787887

%chk=10.chk

# opt freq=noraman b3lyp/6-311++g(d,p)

10

0 1

C                 -2.82031064    0.36884091    0.01250634

H                 -2.31257826   -0.57264780   -0.01408014

H                 -2.55584091    0.94122876   -0.85197495

H                 -3.87747387    0.20382963    0.02129220

C                 -2.41017969    1.13756304    1.28233267

H                 -2.91791207    2.07905175    1.30891915

H                 -2.67464943    0.56517518    2.14681396

C                 -0.88865505    1.37505590    1.26968761

H                 -0.37094063    1.47786031    0.33893359

Se                -0.02795692    1.47430784    2.74070073

%chk=2.chk

# opt freq=noraman b3lyp/6-311++g(d,p)

2

0 2

C                 -2.84900312    0.32762132    0.00000792

H                 -2.49247760   -0.68123424    0.00008487

H                 -2.49220160    0.83193033   -0.87364252

H                 -3.91900311    0.32777102   -0.00007082

C                 -2.33566075    1.05357566    1.25741394

H                 -2.69218627    2.06243123    1.25733700

H                 -2.69246228    0.54926665    2.13106438

C                 -0.79566077    1.05336021    1.25752728

H                 -0.43885925    1.55766922    0.38387684

H                 -0.43913525    0.04450464    1.25760423

S                 -0.20231699    1.89245029    2.71089268