- The principle of beam line inversion (BLI) of Gantry

1. First step. Beam optics design from the isocenter to the coupling point of gantry.

The inverse Gantry beam envelope

2. Second step. Reverse Gantry beamline.

Reverse Gantry beamline

3. Then, we get the final beam optics of gantry beamline. Beam FWHM=4-10 mm.

Final beam optics of gantry (FWHM=4-10 at the gantry isocenter)

As shown in these figures, both at the isocenter and the gantry coupling point the beam have a beam waist (). It was named “waist to waist imaging optics” in the TRANSPORT user guide.