Supplementary Information

Mass spectrometric investigations into the brain delivery of abacavir, stavudine and didanosine in a rodent model.

Sipho Mdanda1, Sphamandla Ntshangase1, Sanil D. Singh3, Tricia Naicker1, Hendrik G. Kruger1, Sooraj Baijnath1*, Thavendran Govender1,2*

1Catalysis and Peptide Research Unit, University of KwaZulu-Natal, Westville Campus, Durban, South Africa.

2AnSynth PTY LTD, 498 Grove End Drive, Durban, South Africa.

3Biomedical Resource Unit, University of KwaZulu-Natal, Westville Campus, Durban, South Africa.

Co-Corresponding author:

Sooraj Baijnath*

Catalysis and Peptide Research Unit

E-block, 6th floor, Room E1-06-016

University of KwaZulu-Natal, Westville Campus, South Africa

Offices: +27 31 260 81799

Cell: +27 84 562 1530

Email address: baijnaths@ukzn.ac.za

## Method validation

The method validation was performed according to the EMA guidelines (Agency 2011).  The following parameters were evaluated; limit of detection, lower limit of quantitation, extraction recovery, linearity, matrix effect, selectivity, precision and accuracy.

Solid Phase Extraction Recoveries

Plasma or brain homogenates (100 μL) from untreated animals were spiked with 50 μL of each analyte to make a concentration 500 ng mL-1 and 50 μL of IS to give concentration levels of 500 ng mL-1, and made up to 1000 μL, with 800 μL ethanol added for protein precipitation.  The mixture was then vortex mixed, followed by centrifugation 10,000 g for 10 min at 4°C.  1 mL of methanol was used to activate the Solid Phase Extraction (SPE) cartridges before extraction of analytes.  SPE cartridges were used to filter the supernatants, to remove proteins and other endogenous substances from the biological matrices, that may affect the subsequent LC-MS analysis. Hydrophilic–Lipophilic‐Balanced, C18–100 mg and Hybrid Phospholipid (Sigma Aldrich, Munich, Germany) were all evaluated for their recoveries.  Consistent and higher recoveries were obtained with the C18 -100 mg cartridge for both plasma and brain homogenates. The C18 -100 mg was selected for this analysis.

Table S1: Extraction recoveries of ABC, d4T and ddI using various SPE cartridges.

|  | ABC | d4T | ddI |
| --- | --- | --- | --- |
| SPE cartridge | Plasma | Brain | Plasma | Brain | Plasma | Brain |
| HLB SPE (30 mg, 1 mL) | 75 ± 3 | 77 ± 1 | 96 ± 1 | 92 ± 4 | 93 ± 3 | 93 ± 4 |
| C18 (100 mg, 1 mL) | 80 ± 2 | 83 ± 3 | 98 ± 2 | 100 ± 2 | 97 ± 1 | 96 ± 2 |
| HybridSPE-Phospholipid (30 mg, 1 mL) | 57 ± 4 | 56 ± 3 | 70 ± 1 | 75 ± 2 | 80 ± 3 | 79 ± 3 |

Linearity and LLOQ

The calibration curve for quantification of ABC, d4T and ddI in rat plasma and brain homogenates were linear in the range of 10 - 2500 ng mL-1.  The ABC, d4T and ddI plasma and brain homogenate linear equations are shown in the Table S2 below;

Table S2: Calibration equations and correlation factors.

| ARTs | Samples | Calibration equations | Correlation Factor |
| --- | --- | --- | --- |
| ABC | Plasma | Y = 106.26 x +0.01 | R2 = 0.999 |
|  | Brain | Y =104.92 x +0.02 | R2 = 0.999 |
| d4T | Plasma | Y =0.0082 x + 0.00017 | R2 = 0.999 |
|  | Brain | Y = 0.0075 x + 0.00019 | R2 = 0.999 |
| ddI | Plasma | Y = 0.152 x +0.001 | R2 = 0.999 |
|  | Brain | Y = 0.208 x + 0.003 | R2 = 0.999 |

The LLOQ of AZT, d4T and ddI both plasma and brain homogenates were kept at 10 ng mL-1. The developed method showed good sensitivity and linearity.

Selectivity and matrix effect

The detection of ABC, d4T, ddI and FTC (IS) were as follows ABC (tR = 1.8 min), d4T (tR = 1.2 min), ddI (tR = 2.28min) and FTC (IS) (tR = 3.4 min) was highly selective and showed no interfering endogenous substances present at these retention times. This confirmed that the present method is selective for the analysis of ABC, d4T and ddI in rat plasma and brain homogenates, see Figure S1 to S4.

Figure S1: Precursor and product ion (ESI) mass spectrum [M+H]+ of ABC.

Figure S2: Precursor and product ion (ESI) mass spectrum [M+H]+ of d4T.

Figure S3: Precursor and product ion (ESI) mass spectrum [M+H]+ of ddI.

Figure S4: Precursor and product ion (ESI) mass spectrum [M+H]+ FTC(IS)

Figure S5: Overlaid Multiple reaction monitoring chromatogram for detection of ABC (500 ng mL-1), d4T (1500 ng mL-1), ddI (1000 ng mL-1) and FTC (IS) in standard solutions.

Precision and accuracy

The inter- and intra-day accuracy and precision in plasma and brain homogenates are summarized in Table S3 and S4. The RSD % for intra-day evaluations varied from 0.40 to 6.39 % and the accuracy was between 94.7 and 103.7 % of nominal concentrations. In contrast, the RSD % for inter-day evaluation varied from 0.37 to 5.87 %.   The LQC, MQC and HQC were within 15 % and the LLOQ was within 20 %, which complies with the EMA guidelines for reproducible and reliable methods, making the present method reliable for quantification of ABC, d4T and ddI in rat brain homogenates.

Table S3: Intra‐ and inter‐day precision and accuracy for the analysis of ABC in rat plasma and brain homogenate (n = 3 days, three replicates per day)

| Plasma-ABC |  |
| --- | --- |
| Quality control levels | LLOQ | LQC | MQC | HQC |
| Concentration (ngmL-1) | 10 | 60 | 500 | 2000 |
| Mean | 9.56 | 58.42 | 503.62 | 2055.30 |
| Accuracy (%) | 95.6 | 97.4 | 100.7 | 103.7 |
| Inter-day precision (R.S.D., %) | 2.68 | 3.76 | 1.68 | 1.33 |
| Intra-day precision (R.S.D., %) | 2.83 | 4.49 | 0.39 | 0.37 |

| Brain-ABC |  |
| --- | --- |
| Quality control levels | LLOQ | LQC | MQC | HQC |
| Concentration (ngmL-1) | 10 | 60 | 500 | 2000 |
| Mean | 9.68 | 58.38 | 498.74 | 1993.53 |
| Accuracy (%) | 96.8 | 97.3 | 99.7 | 99.7 |
| Inter-day precision (R.S.D., %) | 2.00 | 3.09 | 2.06 | 1.23 |
| Intra-day precision (R.S.D., %) | 4.60 | 2.16 | 2.21 | 1.98 |

Table S4: Intra‐ and inter‐day precision and accuracy for the analysis of d4T in rat plasma and brain homogenate (n = 3 days, three replicates per day)

| Plasma-d4T |  |
| --- | --- |
| Quality control levels | LLOQ | LQC | MQC | HQC |
| Concentration (ngmL-1) | 10 | 60 | 500 | 2000 |
| Mean | 10.1 | 58.0 | 504.4 | 2044.2 |
| Accuracy (%) | 101.4 | 96.6 | 100.9 | 102.2 |
| Inter-day precision (R.S.D., %) | 4.85 | 2.18 | 0.54 | 1.57 |
| Intra-day precision (R.S.D., %) | 4.62 | 2.69 | 2.35 | 2.16 |

| Brain-d4T |  |
| --- | --- |
| Quality control levels | LLOQ | LQC | MQC | HQC |
| Concentration (ngmL-1) | 10 | 60 | 500 | 2000 |
| Mean | 9.69 | 58.85 | 491.11 | 1992.33 |
| Accuracy (%) | 96.9 | 98.1 | 98.2 | 99.6 |
| Inter-day precision (R.S.D., %) | 3.60 | 6.39 | 0.52 | 1.66 |
| Intra-day precision (R.S.D., %) | 5.06 | 5.87 | 2.50 | 4.43 |

Table S5: Intra‐ and inter‐day precision and accuracy for the analysis of ddI in rat plasma and brain homogenate (n = 3 days, three replicates per day)

| Plasma-ddI |  |
| --- | --- |
| Quality control levels | LLOQ | LQC | MQC | HQC |
| Concentration (ngmL-1) | 10 | 60 | 500 | 2000 |
| Mean | 9.51 | 59.61 | 497.39 | 1912.01 |
| Accuracy (%) | 98.1 | 99.4 | 99.5 | 95.6 |
| Inter-day precision (R.S.D., %) | 2.80 | 1.44 | 1.08 | 2.45 |
| Intra-day precision (R.S.D., %) | 3.62 | 3.46 | 1.23 | 0.72 |

| Brain-ddI |  |
| --- | --- |
| Quality control levels | LLOQ | LQC | MQC | HQC |
| Concentration (ngmL-1) | 10 | 60 | 500 | 2000 |
| Mean | 9.72 | 59.75 | 485.35 | 1913.73 |
| Accuracy (%) | 98.2 | 99.6 | 97.1 | 95.7 |
| Inter-day precision (R.S.D., %) | 0.66 | 0.40 | 1.71 | 0.54 |
| Intra-day precision (R.S.D., %) | 1.51 | 0.41 | 2.83 | 0.42 |

Recovery and Matrix Effect

Evaluation of extraction recoveries and matrix effect of ABC, d4T and ddI at three QC levels (60, 500, 2000 ng mL-1) yielded acceptable results as per limits in the EMA guidelines. The recoveries of ABC, d4T and ddI from brain homogenates were found to be between 79, 6 and 100.7, shown in Table S6.

Table S6: Mean recoveries of ABC, d4T and ddI in plasma and brain matrices (mean within ± 15 %)

|  |  | Plasma | Brain |
| --- | --- | --- | --- |
| Substance | Concentration level | Mean Recovery | RSD (%) | Mean Recovery (%) | RSD (%) |
| ABC | LQC | 84.3 | 2.00 | 80.1 | 1.66 |
|  | MQC | 79,6 | 1.78 | 83.6 | 2.03 |
|  | HQC | 81.7 | 3.06 | 80.1 | 2.34 |
| d4T | LQC | 99.9 | 1.01 | 98.1 | 2.92 |
|  | MQC | 100.7 | 2.04 | 99.4 | 1.78 |
|  | HQC | 99.8 | 1.16 | 99.7 | 1.15 |
| ddI | LQC | 99.2 | 2.17 | 97.5 | 2.65 |
|  | MQC | 99.4 | 3.14 | 99.4 | 1.78 |
|  | HQC | 98.7 | 2.56 | 98.5 | 3.17 |

Reference

Agency EM. (2011). Guideline on bioanalytical method validation. Committee for Medicinal Products for Human Use (EMEA/CHMP/EWP/192217/2009).